XGRS Instrument Users’ Guide

Richard Starr

Code 690.2

NASA/GSFC

301-286-5073

richard.starr@gsfc.nasa.gov

#### Table of Contents

Table of Contents	ii

1.0	Scope	1

2.0	Overview	1

3.0	Commands, Fragments, and Canned Activity Sequences	1

3.1	Commands	2

3.2	Fragments	2

3.3	Canned Activity Sequences	3

4.0	SASF and SSF Files	4

5.0	Spacecraft Pointing	6

5.1	GNC CASs	7

5.2	SASF and SSF Files with GNC CAS	8

6.0	SEQGEN	11

6.1	Scheduling Rules	13

7.0	XGRS Baseline Configuration	14

8.0	Data Volume	16

9.0	Useful Documents	16

Appendix A	18

#### 1.0	Scope

The purpose of this document is to provide sufficient background information and description of XGRS operations to assist any member of the XGRS team to safely and correctly command the XGRS with only limited one-on-one training.  Since this document is intended for XGRS team members it is assumed that the user already has a basic knowledge of X-ray and gamma-ray detectors and in particular of the NEAR XGRS detectors.  It is also assumed that the user is familiar with the science goals of the NEAR mission and more specifically of the XGRS.

#### 2.0	Overview

Commanding the XGRS is accomplished through the use of the SEQGEN software package developed by JPL and made available to the NEAR project and the individual instrument teams.  A version of this software package resides on the APL computer NEARMOH5 where an account has been provided to the XGRS command sequencer, Richard Starr (GSFC; 301-286-5073; richard.starr@gsfc.nasa.gov).  Additional accounts can be obtained as necessary.  Command sequence files are generated on NEARMOH5 and stored in the user’s directory.  Separate sequences are generated for the X-ray and gamma-ray instruments.  These command sequences include not only instrument level commands, but also spacecraft pointing commands when XGRS has that responsibility.   Sequence files are then copied to the directory /project/nearmops/production/sasf/xgrs on NEARMOH5.  From there they are combined with other instrument sequences by Yanping Guo (JHU/APL; 240-228-7541; yanping.guo@jhuapl.edu) and forwarded to NEAR mission operations where they are encoded for upload to the spacecraft.  All sequences must be approved by the XGRS instrument engineer, John Goldsten (JHU/APL; 240-228-8432; John.Goldsten@jhuapl.edu), before they can be merged with other instrument sequences for that week. Mission operations provides tracking and op-nav schedule information to the science teams approximately four weeks prior to command execution on the spacecraft.  Science teams provide preliminary and final sequences about 2.5 weeks and 1.5 weeks prior to command execution, respectively.  Between delivery of preliminary and final sequences science teams negotiate any changes due to conflicts with other science teams or mission operations. Prior to orbital operations at Eros, the instrument with primary pointing control/responsibility for any particular week will have already been decided.  It is hoped that this will eliminate most conflicts.

#### 3.0	Commands, Fragments, and Canned Activity Sequences

The basic command nomenclature and description for XGRS can be found in NEAR X-ray/Gamma Ray (XGRS) DPU Software Requirements Specification, JHU/APL 7358-9002 Version 7, 7/8/99, and NEAR XGRS Software Version 7 Expanded Telemetry Descriptions, Revision 7/8/99.  While the primitive command structure described in these documents may be used to command the XGRS directly, this is only permitted in a few situations, and only by the instrument engineer.  As explained above, the science teams use SEQGEN to generate command sequences.  This adds two levels of buffer between the basic XGRS commands and the command sequence files delivered to mission ops for execution: fragments and canned activity sequences (CAS).

#### 3.1	Commands

Many commands are available to control and configure the XGRS instrument.  Some of the commands have no parameters associated with them, and others have one or two parameters.  The command that sets the gamma-ray integration time period has one parameter: XG_GR_INT_PER,param1.  Param1 is the desired integration period in seconds and can vary from 0 to 65535.  Typical integration periods for the gamma-ray detector during orbital operations will be 1200 seconds.  An example of a command with no parameters is the one that ends the gamma--ray integration period immediately (within one second), regardless of the current settings: XG_END_GR_INT. An example of an XGRS command that accepts two parameters is the one used to adjust the high voltages for any of the seven detectors: NaI, BGO, Al filtered proportional counter, Mg filtered proportional counter, unfiltered proportional counter, solar monitor proportional counter and solar monitor PIN diode.  The mnemonic for this command is XG_HV_SETPT,param1,param2.  The first parameter identifies the detector high voltage to be changed, and the second the high voltage to be applied to that detector.  So a command to adjust the NaI high voltage to 1394 volts would look something like: XG_HV_SETPT,"NAI",2269.  (The second parameter has a scaling factor of 1.6278.)  XG_GR_INT_PER and XG_HV_SETPT are executed when the integration period ends so that individual integration periods are not corrupted by changing parameters.  As mentioned above, XG_END_GR_INT is executed immediately.

#### 3.2	Fragments

Commands are combined to make fragments.  The fragment that is used to control the NaI and BGO high voltages is called gray_hv_on:

XGRS(gray_hv_on,,

PARAMETERS,

NAI_hv(

TYPE,STRING,

DEFAULT,\"2269"\,

HELP,\"Range is 0...2447 or NOCHANGE"\

),

BGO_hv(

TYPE,STRING,

DEFAULT,\"2223"\,

HELP,\"Range is 0...2447 or NOCHANGE"\

),

end,

STEPS,

note(1,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Duration: 2 seconds"\

),

note(2,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Shared resources: None"\

),

note(3,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Description: Gamma-ray Spectrometer Voltage Set Points for On"\

),

command(4,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

INCLUSION_CONDITION,\NAI_hv != "NOCHANGE"\,

XG_HV_SETPT("NAI",atoi(NAI_hv))

),

command(5,

SCHEDULED_TIME,\00:00:01\,FROM_ACTIVITY_START,

INCLUSION_CONDITION,\BGO_hv != "NOCHANGE"\,

XG_HV_SETPT("BGO",atoi(BGO_hv))

),

command(6,

SCHEDULED_TIME,\00:00:02\,FROM_ACTIVITY_START,

XG_END_GR_INT()

),

end

) ##end ACTIVITY_TYPE gray_hv_on

Included within this fragment are default values for the parameters NAI_hv and BGO_hv.  They are 2269 for NaI and 2223 for BGO, which corresponds to 1394 and 1366 volts for NaI and BGO, respectively.  The sections of this fragment that contain command 4 and command 5 invoke the primitive command XG_HV_SETPT described in the previous section.  Command 4 is hard-wired for the NaI: param1 = “NAI”.  Command 5 is hard-wired for the BGO: param1 = “BGO”.  The second parameter that specifies the high voltage setting  (NAI_hv or BGO_hv) can be “NOCHANGE” or any value from 0 to 2447 which allows an upper limit of approximately 1500 volts for either detector.

The final section of this fragment, which contains command 6 forces an end to the gamma-ray integration period.  This allows the high voltage change to be executed immediately, rather than waiting for the gamma-ray integration period to end normally.

#### 3.3	Canned Activity Sequences

Fragments are combined to make a canned activity sequence or CAS.  It is the CASs that are used by SEQGEN and that the instrument command sequencer must use in order to command the instrument.  If a command has not been incorporated into a fragment and that fragment incorporated into a CAS, that command is not available to the command sequencer.  The CAS that controls gamma-ray high voltage is CAS_xgrs_gray_hv:

XGRS(CAS_xgrs_gray_hv,,

PARAMETERS,

P1_NAI_hv(

TYPE,STRING,

DEFAULT,\"2269"\,

HELP,\"Range is 0...2447 or NOCHANGE"\

),

P2_BGO_hv(

TYPE,STRING,

DEFAULT,\"2223"\,

HELP,\"Range is 0...2447 or NOCHANGE"\

),

end,

STEPS,

note(1,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Duration: 00:00:02"\

),

note(2,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Shared resources: None"\

),

note(3,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Description: Gamma-ray Voltage Set Points for On"\

),

activity(4,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

XGRS(gray_hv_on,P1_NAI_hv,P2_BGO_hv)

),

end

) ##end ACTIVITY_TYPE CAS_xgrs_gray_hv

The structure is similar to that of the fragment.  Parameters are named and default values given first.  The section of the CAS that contains activity 4 incorporates the fragment gray_hv_on.  Only two parameters need to be specified: P1_NAI_hv for the NaI and P2_BGO_hv for the BGO.  This particular CAS contains only one fragment, but any number of fragments may be contained within a single CAS.

All fragments and CASs for the XGRS have been written by Rick Shelton (JHU/APL; 240-228-8599; Richard.Shelton@jhuapl.edu) and reviewed and approved by Richard Starr and John Goldsten.  Rick Shelton is the person to contact if any changes need to be made to existing fragments or CASs or if new ones need to be generated.  All fragments and CASs must be verified on the brass-board and approved by the instrument command sequencer, instrument engineer, and mission operations, so changes and additions can take time to accomplish.  Simple changes such as adjusting default parameters may not need to be run through the brass-board.

#### 4.0	SASF and SSF Files

In order to send commands to an instrument or pointing commands to the spacecraft, it is necessary to create a file that contains all the CASs for the specified time period – normally one week beginning on Monday.  This is accomplished within SEQGEN.  SEQGEN generates several files as its output.  The two most important for our purposes are the sasf and ssf files.  The sasf files contain the time-ordered and time-tagged CASs.  These files can be read by SEQGEN and edited as needed.   It is these files (after being combined with other instrument sasf files) that are delivered to mission ops.  The ssf files contain similar information to the sasf, but display the more primitive command structures and actual execution times in both MET and UTC.  It is a good idea to examine the ssf file before delivering the sasf file to Yanping.  Some errors in sequencing are more easily picked up here than in the sasf file.

As mentioned above, commanding is normally for a one week period, beginning on Monday.  The naming convention for sasf and ssf files is YYDDD_NAME.sasf or YYDDD_NAME.ssf, where YY=year, DDD=day of year for the first day of the week, and NAME is the name of the instrument.  So the file that would contain the CASs for the GRS for the week beginning 14 December 1998 would be 98348_GRS.sasf.  The corresponding ssf file is just 98348_GRS.ssf.  For that same week the XRS files are 98348_XRS.sasf and 98348_XRS.ssf.

All CASs are available within SEQGEN when creating either the XRS or the GRS sasf files.  All commands can be combined into a single file using either instrument name.  Having the ability to separate the commands for the two instruments is useful in those cases where XRS and GRS commands may overlap in time.  This can be handled within a single sasf file, but separating them into two files makes the activity easier.

The sasf file for the week beginning 14 December 1998 (98348_GRS.sasf) minus a lot of header information is:

************************************************************

$$EOH

$$EOD

request(grs_hv,

START_TIME, 1998-349T12:00:00,

REQUESTOR, "Richard Starr GSFC",

PROCESSOR, "1",

KEY, "GRS")

activity(1,

SCHEDULED_TIME,\0:0:0\,FROM_REQUEST_START,

XGRS(CAS_xgrs_bgo_coinc_win,"54","19","105","21")

),

activity(2,

SCHEDULED_TIME,\0:0:2\,FROM_PREVIOUS_START,

XGRS(CAS_xgrs_gray_hv,"2219","2227")

),

end;

$$EOF

Within SEQGEN one generates requests and requests can contain one or more activities.  In the above case activity 1 begins at the FROM_REQUEST_START time which is 12:00:00 UTC on day 349 of 1998.  Activity 2 begins 2 seconds after the start of the previous activity.  Activity 1 sets the BGO single escape coincidence window centroid (54), width (19) and the BGO double escape coincidence window centroid (105) and width (21).

The corresponding ssf file for this week, again without a lot of header is:

************************************************************

$$EOH

$$SEQUENCE

EXECUTE_MACRO 1998-349/02:05:00.000,0089097709:3,CTP1,TRK_TERM_341$1_4_6_1CMD,"FBA_CONFIG"

EXECUTE_MACRO 1998-349/02:10:00.000,0089098009:3,CTP1,TRK_TERM_341$1_4_7_5_1CMD,"GS5_POINT"

XG_SESWIN_DEF 1998-349/12:00:00.000,0089133409:3,1,grs_hv$1_4_4CMD,54,19

XG_DDESWIN_DEF 1998-349/12:00:01.000,0089133410:3,1,grs_hv$1_4_5CMD,105,21

XG_HV_SETPT 1998-349/12:00:02.000,0089133411:3,1,grs_hv$2_4_4CMD,"NAI",2219

XG_HV_SETPT 1998-349/12:00:03.000,0089133412:3,1,grs_hv$2_4_5CMD,"BGO",2227

XG_END_GR_INT 1998-349/12:00:04.000,0089133413:3,1,grs_hv$2_4_6CMD

$$EOS

$$EOF

For each individual action the ssf file lists the XGRS command, UTC execution time, MET execution time, request name, and command parameters, if any.  The ssf explicitly shows all of the commands to be executed and their relative timing.  XG_SESWIN_DEF sets the single escape coincidence window and is executed first at 12:00:00.  One second later XG_DDESWIN_DEF sets the double escape window parameters.  Then XG_HV_SETPT is executed twice to set first the NaI high voltage and then the BGO high voltage.  Finally, to force immediate execution, XG_END_GR_INT is sent at 12:00:04.  Here, one advantage of examining the ssf becomes clear.  Nothing in the sasf file or either of the CASs that make up this request explicitly show the XG_END_GR_INT command.  It is hidden in the corresponding fragment.  (See section 3.1.)  This also demonstrates why the two activities/CASs in the request were arranged in this particular order.  If CAS_xgrs_gray_hv was scheduled first the XG_END_GR_INT command would have been executed before the BGO coincidence windows were changed forcing an end to the integration period prematurely.

#### 5.0	Spacecraft Pointing

During a significant part of the orbital mission at Eros, the XGRS team will have the opportunity and responsibility of pointing the spacecraft.  This will allow the XGRS team to make the best use of the available observing time while the spacecraft is in low orbit.  Current plans call for ~50 km orbits starting in mid-April of 2000 and continuing until the end of September 2000.  There will be two additional weeks of 50-km orbits starting in mid-December 2000 and 35-km orbits during January 2001.  For most of these time periods, XGRS will have priority.  Approximately 8 to 10 hours of each day will be lost to mission operations for tracking and op-navs, but the remainder of each day is available for science observations.

The pointing plan for the XGRS is being developed at Cornell University by Elaina McCartney (607-255-6910; emm5@cornell.edu).  Each week, Elaina will provide to the XGRS command sequencer an excel spreadsheet which will contain the pointing information for that week.

Pointing the spacecraft is accomplished in the same way as commanding the XGRS.  That is we use SEQGEN.  There are several guidance, navigation and control (GNC) CASs available to the XGRS team that allow us to point to asteroid nadir, point off-nadir, point to a specific location on the asteroid surface, and to scan around a point on the asteroid surface.  It will be the responsibility of the XGRS command sequencer to incorporate the pointing information provided by Elaina into the sasf files that are delivered to Yanping each week.

#### 5.1	GNC CASs

As mentioned above, the science teams have a number of options in how and where they point the spacecraft, however, for the XGRS the current pointing plan requires only off-nadir pointing and target specific pointing.  No scanning is currently anticipated for the XGRS to accomplish its science goals.  For this reason the XGRS command sequencer will need just one CAS for essentially all pointing control:

XGRS(CAS_xgrs_gnc_point_quick,,

PARAMETERS,

P1_slew_dur(

TYPE,DURATION,

RANGE,\1...900\,

DEFAULT,\500\,

HELP,\slew duration\

),

P2_ds40_coord_sys(

TYPE,UNSIGNED_DECIMAL

),

P3_aimpt_x(

TYPE,FLOAT

),

P4_aimpt_y(

TYPE,FLOAT

),

P5_aimpt_z(

TYPE,FLOAT

),

end,

STEPS,

note(1,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Duration: 00:00:02 + P1_slew_dur"\

),

note(2,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Shared resources: Attitude"\

),

note(3,

SCHEDULED_TIME,\00:00:00\,FROM_ACTIVITY_START,

TEXT,\"Description: XGRS Point NEAR Spacecraft"\

),

activity(4,

SCHEDULED_TIME,\00:00:00 - P1_slew_dur\,FROM_ACTIVITY_START,

GNC(DS40_POINT,P1_slew_dur,P2_ds40_coord_sys,P3_aimpt_x,P4_aimpt_y,

P5_aimpt_z,0,1.0,0.0,0.0,"XGRS")

),

end

) ##end ACTIVITY_TYPE CAS_xgrs_gnc_point_quick

CAS_xgrs_gnc_point_quick was designed to minimize the number of parameters that need to be specified by the command sequencer, thus making the job of generating the sequence file easier and quicker, not moving the spacecraft any faster!  There are five parameters that need to be specified.  P1_slew_dur specifies the time required for the spacecraft to move from where ever it is when XGRS takes control to where we want it to point.  The default value is 500 seconds.  Under most circumstances this is more time than necessary, but is a fairly safe upper limit.  Since the XGRS is a fairly simple instrument to operate – there are no lasers to pulse or filter wheels to rotate – the XGRS will start taking asteroid data as soon as the slewing maneuver is completed, even if it takes less time than specified.  P2_ds40_coor_sys specifies the coordinate system that will be used.  This will be either the nadir/sun coordinate system (P2_ds40_coor_sys=4) used when XGRS does off-nadir pointing or the asteroid body fixed coordinate system (P2_ds40_coor_sys=5) used for target specific pointing.  Finally, we must specify where to point the spacecraft using P3_aimpt_x, P4_aimpt_y, and P5_aimpt_z.  For off-nadir pointing only azimuth and elevation need to be specified. P3_aimpt_x=elevation, P4_aimpt_y=azimuth, and P5_aimpt_z=0.  Azimuth should always be zero (P4_aimpt_y=0).  For target specific pointing x,y,z coordinates are required.

The values of these parameters and start times for each sequence are contained in the spreadsheet that Elaina provides weekly.  The spreadsheet that will be used for Eros operations during the week of 22 May 2000 (00143) can be found in Appendix A.

#### 5.2	SASF and SSF Files with GNC CAS

The first two requests from 00143_XRS.sasf are shown below.

************************************************************

$$EOH

$$EOD

request(seq_01,

START_TIME, 2000-143T20:49:50,

REQUESTOR, "Richard Starr GSFC",

PROCESSOR, "1",

KEY, "XRS")

activity(1,

SCHEDULED_TIME,\00:08:30\,FROM_REQUEST_START,

XGRS(CAS_xgrs_gnc_point_quick,510,4,4,0,0)

),

activity(2,

SCHEDULED_TIME,\08:55:00\,FROM_PREVIOUS_START,

XGRS(CAS_xgrs_release_attitude)

),

end;

request(seq_02,

START_TIME, 2000-144T06:09:50,

REQUESTOR, "Richard Starr GSFC",

PROCESSOR, "1",

KEY, "XRS")

activity(1,

SCHEDULED_TIME,\00:08:30\,FROM_REQUEST_START,

XGRS(CAS_xgrs_gnc_point_quick,510,4,4,0,0)

),

activity(2,

SCHEDULED_TIME,\04:50:20\,FROM_PREVIOUS_START,

XGRS(CAS_xgrs_gnc_point_quick,510,5,12.2648,0,4.46402)

),

activity(3,

SCHEDULED_TIME,\00:44:40\,FROM_PREVIOUS_START,

XGRS(CAS_xgrs_release_attitude)

),

end;

All pointing requests end with CAS_xgrs_release_attitude.  This tells the other instrument teams and mission ops that the spacecraft is now free for pointing commands from some other team.  Sequence 1 starts the spacecraft slew maneuver at 20:49:50, but the observation starts 510 seconds (00:08:30) later.  This is an off-nadir point (4), with elevation=4, and azimuth=0.  Sequence 2 starts with off-nadir pointing, then switches to target specific pointing before releasing attitude control.

The parameter values used in this CAS can be compared to those given in the spreadsheet.  The start time of each request is the start_time (columns J,K,L).  The first activity of each request begins FROM_REQUEST_START (column T).  The start of the observation specified in the first activity (SCHEDULED_TIME) is 08:30 (510 seconds) later (column Q).  Subsequent activities begin FROM_PREVIOUS_START (column T) at times also specified in column P.  The CAS to be used for each activity is given in column AB and the parameter values in column AA.

In the second request above (seq_02), the slew starts at 06:09:50 (column L), but the first observation (activity 1) which is an off-nadir point (4) begins at 06:18:20 (column L).  Activity 2, which is an asteroid body fixed pointing sequence (5), starts 04:50:20 after the start of activity 1 (column Q).  This means that the observation begins at 11:08:40 (column L), but the slew for activity 2 begins 510 seconds earlier at 11:00:10 (column I).  The duration of activity 1 is then not 04:50:20, but only 04:41:40 (column U) or 16900 seconds (column V).  An additional 10 seconds of pad is typically added to the start time of each activity to insure no overlap.

Finally, since the asteroid body fixed pointing sequences are used to maximize viewing time over regions of the asteroid that would otherwise have poor coverage, they get priority.  This means that slewing time is extracted from sequences before and after, since they are typically off-nadir pointing sequences.

The portion of the 00143_XRS.ssf that corresponds to these same two requests is:

MACRO_BREAK 2000-143/20:49:48.000,0134438814:7,1,seq_01$1_4_4CMD,"CTP"

FC_DS40_URAM_LD 2000-143/20:49:48.000,0134438814:7,1,seq_01$1_4_5CMD,

4,4.0000000000000000,0.0000000000000000,0.0000000000000000,0.0000000000000000,

0.0000000000000000,1.0000000000000000,0,0.0000000000000000,0.0000000000000000,

1.0000000000000000,1.0000000000000000,0.0000000000000000,0.0000000000000000,2

MACRO_BREAK 2000-143/20:49:48.000,0134438814:7,1,seq_01$1_4_6CMD,"CTP"

FC_PB_TLM_MODE 2000-143/20:49:49.000,0134438815:7,1,seq_01$1_4_8_9CMD,"ENA"

FC_RT_TLM_MODE 2000-143/20:49:49.000,0134438815:7,1,seq_01$1_4_8_10CMD,

"VC0","64","0x0",0,"1","30"

FC_STRT_GUI_SCN 2000-143/20:49:50.000,0134438816:7,1,seq_01$1_4_11CMD,1

FC_STRT_GUI_SCN 2000-143/20:49:52.000,0134438818:7,1,seq_01$1_4_13CMD,1

FC_PB_TLM_MODE 2000-143/20:58:12.000,0134439318:7,1,seq_01$1_4_14_5IF_1CMD,

"ENA"

FC_RT_TLM_MODE 2000-143/20:58:13.000,0134439319:7,1,seq_01$1_4_14_5IF_4CMD,

"VC0","64","0x0",0,"1","300"

MACRO_BREAK 2000-144/06:09:48.000,0134472415:0,1,seq_02$1_4_4CMD,"CTP"

FC_DS40_URAM_LD 2000-144/06:09:48.000,0134472415:0,1,seq_02$1_4_5CMD,

4,4.0000000000000000,0.0000000000000000,0.0000000000000000,0.0000000000000000,

0.0000000000000000,1.0000000000000000,0,0.0000000000000000,0.0000000000000000,

1.0000000000000000,1.0000000000000000,0.0000000000000000,0.0000000000000000,2

MACRO_BREAK 2000-144/06:09:48.000,0134472415:0,1,seq_02$1_4_6CMD,"CTP"

FC_PB_TLM_MODE 2000-144/06:09:49.000,0134472416:0,1,seq_02$1_4_8_9CMD,"ENA"

FC_RT_TLM_MODE 2000-144/06:09:49.000,0134472416:0,1,seq_02$1_4_8_10CMD,

"VC0","64","0x0",0,"1","30"

FC_STRT_GUI_SCN 2000-144/06:09:50.000,0134472417:0,1,seq_02$1_4_11CMD,1

FC_STRT_GUI_SCN 2000-144/06:09:52.000,0134472419:0,1,seq_02$1_4_13CMD,1

FC_PB_TLM_MODE 2000-144/06:18:12.000,0134472919:0,1,seq_02$1_4_14_5IF_1CMD,

"ENA"

FC_RT_TLM_MODE 2000-144/06:18:13.000,0134472920:0,1,seq_02$1_4_14_5IF_4CMD,

"VC0","64","0x0",0,"1","300"

MACRO_BREAK 2000-144/11:00:08.000,0134489835:0,1,seq_02$2_4_4CMD,"CTP"

FC_DS40_URAM_LD 2000-144/11:00:08.000,0134489835:0,1,seq_02$2_4_5CMD,

5,12.2647999999999990,0.0000000000000000,4.4640199999999997,0.0000000000000000,

0.0000000000000000,1.0000000000000000,0,0.0000000000000000,0.0000000000000000,

1.0000000000000000,1.0000000000000000,0.0000000000000000,0.0000000000000000,2

MACRO_BREAK 2000-144/11:00:08.000,0134489835:0,1,seq_02$2_4_6CMD,"CTP"

FC_PB_TLM_MODE 2000-144/11:00:09.000,0134489836:0,1,seq_02$2_4_8_9CMD,"ENA"

FC_RT_TLM_MODE 2000-144/11:00:09.000,0134489836:0,1,seq_02$2_4_8_10CMD,

"VC0","64","0x0",0,"1","30"

FC_STRT_GUI_SCN 2000-144/11:00:10.000,0134489837:0,1,seq_02$2_4_11CMD,1

FC_STRT_GUI_SCN 2000-144/11:00:12.000,0134489839:0,1,seq_02$2_4_13CMD,1

FC_PB_TLM_MODE 2000-144/11:08:32.000,0134490339:0,1,seq_02$2_4_14_5IF_1CMD,

"ENA"

FC_RT_TLM_MODE 2000-144/11:08:33.000,0134490340:0,1,seq_02$2_4_14_5IF_4CMD,

"VC0","64","0x0",0,"1","300"

MACRO_BREAK 2000-144/20:49:48.000,0134525215:0,1,seq_03$1_4_4CMD,"CTP"

FC_DS40_URAM_LD

This is fairly detailed, but a little examination shows that the start time of activity 1 in sequence 1 is 20:49:48 and the start times for activities 1 and 2 in sequence 2 are 06:09:48 and 11:00:08, respectively.  These times are each 2 seconds earlier than are called out in the SASF file to allow time for initialization in the flight computer before start of the sequence 2 seconds later.

Mission ops has provided two software tools which make SSF files a little easier to understand.  They are SEQOUT and SSF_SUMMARY.  Both of them take an SSF file as input and produce an output file that has been cleaned up for easier reading.  SEQOUT can be found on NEARMOH5 in the directory /project/nearmops/production/opstool.  SSF_SUMMARY is also on NEARMOH5 in the directory /project/nearmops/production/sasf/ops.  Move a copy of one or both of these programs to the working directory that contains the SSF files.  For SEQOUT the syntax is:

[47] /homes/starr/seqgen/99088>/homes/starr/seqgen/seqout 99088_XRS

The resulting file is 99088_XRS.seqout.  For SSF_SUMMARY the syntax is:

[49] /homes/starr/seqgen/99088>/homes/starr/seqgen/ssf_summary 99088_XRS

The output file is 99088_XRS.ssf.sum.

#### 6.0	SEQGEN

In order to run SEQGEN on NEARMOH5 the latest copy of the script “gen_prod” should be maintained in the user directory.  The syntax is as follows:

[46] /homes/starr/seqgen>gen_prod 99095 GRS

If the file 99095_GRS.sasf already exists it will be read in at startup, otherwise you start with a blank slate.  In Figure 1, SEQGEN has been executed and the initial page is displayed.  At the top of the page the one week time line is shown.  Further down are SSR resource allocations and then activity requests for various instruments.  The “OPS” line indicates tracks or time periods when the spacecraft high-gain antenna is pointed at the Earth for data downlink.  During orbital operations at Eros there will be a track of approximately eight hours duration every day.  In addition there will be several MSI images taken for navigation purposes each day and the timing for these will appear in the “OPNAV” line.  The file 99095_XRS.sasf is displayed as a background sequence and the GRS request bgo_coinc_win is also seen.  The only changes possible are to the GRS request.  This can be accomplished by going to the “Activity Panel” button and highlighting “Edit” in order to bring up the editor window.  The editor window for this SEQGEN session is displayed in Figure 2.

Figure 1.  SEQGEN time line for 99095_GRS.sasf.

Figure 2  SEQGEN editor window for 99095_GRS.sasf.

Boxes that must be completed manually, are ID (bgo_coinc_win), Processor (“1”), Start Time (1999-096T12:00;00), and Plot Key (GRS).  Other information is filled in as the requests are generated.  Already existing requests are listed at the bottom of the page.  Some non-XGRS requests may be listed.  They will be frozen, meaning they cannot be changed or deleted.  They can be ignored.  In Figure 2, the only GRS request, bgo_coinc_win, has been loaded into the working area in the middle of the page.  The four parameters available for change within the CAS are shown.  To add additional activities to this request go to the “Step Panel” button and highlight “New Activity.”  This brings up a new panel, shown in Figure 3, where all of the NEAR CASs are available for insertion, however, only XGRS CASs should be used.  To exit from the editor window and return to the time line window after all request editing is complete, go to the “Header Panel” button and highlight “Done.”  All requests should be visible in the time line.  Generally, no commands of any kind should be sent during the first 5 minutes of the one week scheduling period.  Any other time, instrument level commands are acceptable, even during tracks or op-navs.  They will be executed on schedule unless they coincide exactly with a spacecraft maneuver, in which case there may be some small delay, usually not more than a few seconds.  Pointing commands must fit in between mission ops work and any other instrument pointing activities.  If XGRS pointing commands overlap with any other pointing activities including its own, warning flags will appear in the time line window.  Double clicking on the flags will open a panel with an explanation of the error.   Go back to the editor window to correct the problem.

Figure 3.  SEQGEN editor activity panel.

To exit from SEQGEN go to the “Environment Panel” button and highlight “Quit” with “Save.”  Even if no changes have been made it is wise to save before quitting, because no ssf file will be created without executing a save.  Use an editor to examine the sasf and ssf files to verify that all requests have been properly interpreted.

#### 6.1	Scheduling Rules

There are a few rules that the instrument schedulers must observe in order to ensure that the sequence files they submit each week will be uploaded to the spacecraft and executed as planned.  Failure to observe these rules could prevent all or part of a week’s sequences from being implemented.

- Instrument schedulers are only permitted to request CASs.  Any instrument request file containing calls to fragments or bare commands will be rejected by the ops scheduling system.

- Request files sent to ops must be conflict (error) free.  Exception: “SSRn SEMENT FULL, SCHEDULE CAS_SSR_SEG_SWITCH.”

- Instrument schedulers may not make a request that would result in commands occurring within the first 5 minutes of a scheduling week.

- If an instrument team assumes attitude ownership they must relinquish it prior to any other teams assumption of attitude (including ops).

- “No spill-over requests.”  Any CAS requested by an instrument team in a given week must fully complete all commanding prior to the end of the scheduling period.

- Instrument requests may not result in more data being collected than can be down loaded on the next playback.

#### 7.0	XGRS Baseline Configuration

To date, the XGRS has always been powered up in real-time by John Goldsten.  He employs an approved macro made up of primitive commands.  An XGRS CAS, which performs the same function as this macro, also exists: CAS_xgrs_warm_up.  This CAS determines all default settings.  These values may change slightly from time to time, but as of this writing (8/99) the default values for several of the XGRS engineering parameters are given in Table 1.

For the high voltages, the engineering parameter that is required by the CAS is shown in parenthesis.  The scaling factor is 1.6278.  These high voltage values are selected so that the gamma-ray detectors have an energy range of about 0 – 10 MeV and the X-ray detectors have an energy range of about 0 – 10 keV.  The NaI and BGO thresholds are engineering parameters that correspond to a threshold of channels 10 and 13, respectively.  An approximate equation for the LLD settings for both gamma-ray detectors is:

Channel Number  = 3.0 + 3.4*LLD

For the X-ray detectors, the relationship between LLD parameter and channel number is nearly one to one.  A rise time threshold of 135 for the X-ray proportional counters corresponds to approximately 0.5 microseconds.  The valid rise time threshold is set to channel 51, which corresponds to approximately 2.0 keV.

The integration periods for cruise have been held constant for most of the last three years since launch.  When orbital operations begin next year, it is anticipated that the X-ray and gamma-ray integration periods will be 100 and 1200 seconds, respectively.

| Table 1. XGRS Engineering Parameter Default Values |  |
| --- | --- |
| Parameter | Value |
| High Voltages |  |
| NaI | 1394 v (2269) |
| BGO | 1366 v (2223) |
| Mag | 1171 v (1906) |
| Al | 1164 v (1894) |
| Unfiltered | 1164 v (1894) |
| Gas Solar Monitor | 1164 v (1894) |
| Pin Solar Monitor | 30 v (49) |
| Low Level Thresholds |  |
| NaI | 2 (chan 10) |
| BGO | 3 (chan 13) |
| Mag | 15 (13) |
| Al | 15 (13) |
| Unfiltered | 15 (13) |
| Gas Solar Monitor | 15 (13) |
| Pin Solar Monitor | 37 (32) |
| Rise Time Thresholds |  |
| Mag | 135 |
| Al | 135 |
| Unfiltered | 135 |
| Gas Solar Monitor | 135 |
| Rise Time Valid Thresholds |  |
| Mag | 51 |
| Al | 51 |
| Unfiltered | 51 |
| Gas Solar Monitor | 255 |
| BGO Coincidence Windows |  |
| Single Escape Centroid, Width | 51,19 |
| Double Escape Centroid, Width | 100, 21 |
| Integration Periods (Cruise) |  |
| X-Ray | 300 s |
| Gamma-Ray | 2400 s |
| Safing Thresholds |  |
| X-Ray | 30,000 s-1 |
| Gamma-Ray | 30,000 s-1 |
| BGO Proton Flare | 10,000 s-1 |

#### 8.0	Data Volume

The XGRS is a fairly simple instrument to operate.  Once high voltages and discriminator levels have been set there is little to change.  The only instrument parameters that effect the amount of data that the XGRS generates are the integration periods.   The XGRS produces four different data sets: Summary, XRS, GRS, and Burst. Integration periods for XRS and GRS can vary from 1 to 65535 seconds.  During cruise typical values for XRS and GRS have been 300 and 2400 seconds, respectively.  In orbit, integration periods are likely to be 100 seconds  for XRS and 1200 seconds for GRS.  The integration period for Summary data is always equal to that of the XRS.  Summary, XRS, and GRS produce 1, 7, and 31 data packets respectively, each integration period.  The Burst data rate is fixed to one data packet every 166 seconds.  A packet contains 2944 bits.  Typical data volumes for cruise and orbit are given in Table 2.

| Table 2. Typical XGRS Data Volumes |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Data Set | Number of Packets | Integration Period (s) | Integration Periods per Day | Packets per Day | Daily Data Volume (bits) |
| # Cruise | XRS + Summary | 8 | 300 | 288 | 2304 | 6,782,976 |
|  | GRS | 31 | 2400 | 36 | 1116 | 3,285,504 |
|  | Burst | - | 1 | - | 520.5 | 1,532,352 |
|  |  |  |  |  |  | 11,600,832 |
| # Orbit | XRS + Summary | 8 | 100 | 864 | 6912 | 20,348,928 |
|  | GRS | 31 | 1200 | 72 | 2232 | 6,571,008 |
|  | Burst | - | 1 | - | 520.5 | 1,532,352 |
|  |  |  |  |  |  | 28,452,288 |

#### 9.0	Useful Documents

NEAR X-ray/Gamma Ray (XGRS) DPU Software Requirements Specification, JHU/APL 7358-9002 Version 7, 7/8/99.

NEAR XGRS Software Version 7 Expanded Telemetry Descriptions, Revision 7/8/99.

“The X-ray/Gamma-ray Spectrometer on the Near Earth Asteroid Rendezvous Mission”

J. O. Goldsten et al., Space Sci. Rev. 82 (1997) 169.

“Compositional Mapping with the NEAR X-ray/Gamma-ray Spectrometer”

J. I. Trombka et al., J. Geophys. Res.102, (1997) 23729-23750.

XGRS Command List

XGRS Fragments

XGRS Instrument CASs

XGRS GNC CASs

#### Appendix A - NEAR-XGRS-week2000-143 Excel Spreadsheet